BRAIN ANALYSIS

PROGRAM RUNS WITH FOREGROUND LOADED.

SELECT BRAIN STUDY AND AT COMMAND MR BRAIN

TAKE POLAROID PHOTO OF REGIONS WHEN DISPLAYED.

ROIS OK?

IF YES, TYPE PA - RETURN ^X ^X THEN MR,10

(IF NO, TYPE MR,6 - MARK REGIONS MANUALLY AND TAKE FILM.

THEN TYPE PA - RETURN ^X ^X

AND AT COMMAND MR,10.

TAKE FILM OF FINAL GRAPH AND COLLECT PRINT OUT.

DUAL ISOTOPE ANALYSIS

GALLIUM, TECHNETIUM LIVER SUBTRACT

CALL UP 99MTC LIVER VIEW I.E. (IA-ISOTOPE A)

IR OUTLINE SMALL NORMAL LIVER AREA AND NOTE AVERAGE CELLS EG 1200

^X

IB (ISOTOPE B)

IT;S9

IR (NOTE AVERAGE CELLS IN B. EG 40)

^X

CM (EG  40) IE. CONSTANT MULTIPLY

BU;SM1

IA

SM2;SA1-2 (IE GALLIUM - TECHNETIUM)

BW;LD2 (IE LOAD DUAL ISOTOPE IN SA2)

SW;W;BW - TAKE PHOTO.

GASTRIC EMPTYING

CALL UP STUDY, AT COMMAND

IR   AND OUTLINE STOMACH USING V

PA - RETURN

^X

^X

AT COMMAND

MR CURVE	(STORES CURVES IN SVAR01 + RUNS CURVE.SAV)

RS1

DC1

MR EXFIT MOVE CURSOR TO LEFT AND MARK

MOVE CURSOR TO RIGHT AND MARK

TAKE FILM OF HALF EMPTYING TIME

AT COMMAND

DG   (IE DISPLAY GAMMA)

RI 1 (IE REGION OF INTERREST SECTION)

RB CA (RETURNS TO BGAMMA).

GATED HEART (SEE NEXT PAGE FOR GATED LIST)

1.	CALL UP GRID AND AT COMMAND RI

MARK POINTS 1 AND 2, THEN 2 AND 4 AND NOTE CELL COUNT IN RECORD

BOOK EG X, 79 Y, 78

POINT 1		POINT 2

POINT 3		POINT 4

TO MOVE CROSS HAIR

L,R  )  J TO MOVE

U,D  )  10 CELLS

2.	CALL UP LAO AND AT COMMAND MR HRTANL

WAIT FOR PLAYBACK AND MAKE MENTAL NOTE OF VALVE PLANE,

SEPTUM AND ANEURYSM.  ^X.

3.	OPTION SELECT - SELECT 2 UNLESS RIGHT AND LEFT VENTRICULAR

ANALYSIS IS REQUIRED.

4.	ENTER X FACTOR

ENTER Y FACTOR

5.	OUTLINE LEFT VENTRICLE AND CONTINUE WITH SELF DOCUMENTING PROGRAM.

NOTES:	1.  BACKGROUND MUST NOT INCLUDE ANY HEART OR SEPTAL AREA.

2.  IF APICAL POINT IS MOVED SHIFT CENSOR AND MARK USING INTERUPT BAR.

3.  TAKE POLAROID FILMS OF GRAPHS AND COLLECT PRINT OUT.

AFTER COMPLETING GATED ANALYSIS CONTINUE WITH PHASE STUDY.

NB:		EJECTION FRACTION = (END DIASTOLE-BACKGROUND)-(END SYSTOLE-BGD)

---------------------------------

##END DIASTOLIC COUNTS

GATED LIST ANALYSIS

CALL UP STUDY.

FRAME STUDY 3

START TIME

STOP TIME

FRAME DURATION

NO OF FRAMES 24

PRESET TRIGGER

64X64 IE NO 4

UNIT O

SAVE FRAME DATA  AS PATIENT STUDY Y

TOLERANCE CHECK Y

MOVE CURSOR 100 ECH SIDE OF HIGHEST

490                     690

MARK        590         MARK

HIGHEST

REPEAT FOR OTHER LIST VIEWS.

CONTINUE WITH ROUTINE HEART ANALYSIS.

PHASE ANALYSIS

SELECT LAO AND AT COMMAND

MR FOUR

TYPE PN - RETURN ^X ^X

MARK LEFT VENTRICLE -PN - RETURN ^X ^X.

MARK END DIASTOLE

MARK END SYSTOLE

MARK LAST EVEN NUMBERED FRAME

NOTE:  IF ODD FRAME MARKED THEN MOVE  1 CELL AND MARK AGAIN.

NOW IN GAMMA TO ADJUST LOWER THRESHOLDS ONLY USING X OR W.

THEN ^X.

ERASE A.(I.E. EA) AND MARK RIGHT VENTRICLE AND LEFT VENTRICLE.

^X.

IF THIS A RESTING STUDY  Y

DO YOU WANT PLAY BACK  Y

TAKE POLAROID FILM OF PHASE STATIC.

AT COMMAND PB P1 VIEWS PHASE PLAY BACK.

N.B. 	DELETE PHASE DP-SMH STUDY

TO CREATE PLAYBACK

(3 STUDIES + PHASE IN P1)

1.	SELECT LAO AND AT COMMAND MR GSASM3

2.	SELECT RAO AND AT COMMAND MR,5

3.	SELECT L.LAT AND AT COMMAND MR,8

PLACKBACK IS AUTOMATICALLY CREATED AND JOINED.

NOTE:	IF ONLY LAO COLLECTED:

SELECT LAO AND AT COMMAND MR GSASMH

WHEN PLAYBACK CREATED IN P3 GET COMMAND AND

MR JOIN,2

TO STORE PLAYBACK

MR,9 OR

MR RNMGPB AND MR JOIN,9

EXAMPLES

SY0:P4=SY0:P1 (STORE P1 IN P4)

*TTO420 (STORE GSACOM)

OR

R PIP

*SY1:TS0001.GPB=SY1:GSACOM.GPB

NOTE: -2 IENTER ERR (MEANS DISK IS FULL, I.E DELETE STUDIES OR GPB'S)

TO CREATE EXERCISE PLAY BACK

CHOOSE FIRST STUDY AND AT COMMAND

MR GSASME			OR MR GSASM4

3RD STUDY		P1	P2

1ST STUDY 2ND STUDY		P3	P4

N.B.	DELETE TEMPORAL SM1

EXERCISE GATED HEART ANALYSIS

1.	ACQUIRE GRID FACTORS AS FOR GATED REST STUDY.

2.	CALL UP REST STUDY AND AT COMMAND

MR HRTANE

ANSWER NO TO AUTO ANALYSIS.

3.	OPTION SELECT IS 6 IE EXERCISE.

CONTINUE AS FOR GATED REST STUDY.

4.	REPEAT ABOVE FOR ALL STRESS COLLECTIONS AND

POST EXERCISE COLLECTION

ANSWER YES TO AUTO ANALYSIS AND MODIFY REGIONS

WHERE NECESSARY.

5.	PHASE ANALYSIS FOR ALL COLLECTIONS.

I-131 POST THERAPY

CALL UP STUDY AND AT COMMAND RI

MARK DIAGONAL CORNERS.

N.B.  AREA MUST BE LARGE ENOUGH FOR BOTH IMAGES.

NOTE MAXIMUM COUNTS  ^X

SPACE       FOR NEXT IMAGE.

RI - MOVE CENSOR TO LOWER RT. HAND CORNER, MARK AND TYPE SA

(I.E. SAME AREA)

NOTE MAXIMUM COUNTS IN B.

^C

R BASIC

OPTIONAL FUNCTIONS(ALL, NONE OR INDIVIDUAL)

READY

PRINT  COUNTS NECK X DOSE STANDARD = PATIENT DOSE

-----------

COUNTS STANDARD

E.G. PRINT 17962/4857*53

BYE

OR AT COMMAND

BA AND CONTINUE AS ABOVE

KIDNEY ANALYSIS

1.	SELECT STUDY AND AT COMMAND  MR KIDNEY.

A)   TO MARK AORTA:

SPACE RETURN UNTIL AORTA APPEARS AND AT COMMAND

AD3;LT20;IT;S9;IR-MARK AORTA

^X

B)   TO MARK KIDNEYS AND BACKGROUND AT COMMAND.

BE;SK30;AD10;LT20;S9;IR

MARK RIGHT KIDNEY AND BACKGROUND THEN

MARK LEFT KIDNEY AND BACKGROUND

^X

C)	TO MARK LEFT VENTRICLE AND BACKGROUND AT COMMAND

BE;SK1;AD2;S9;LT70;IR

^X.

FOLLOW COMMANDS AND TAKE PHOTO.

NOTE:  REGIONS ARE AUTOMATICALLY STORED IN SA7

#CURVE IN SA8 AND MODIFIED KIDNEYS AND BACKGROUNDS

IN SA6.

GFR ANALYSIS

A)   SELECT STANDARD AND AT COMMAND MR GFR,10

OUTLINE STANDARD AND BACKGROUND ^X.

B)   SELECT RENAL STUDY AND AT COMMAND MR,1

(I)    DRAW ROI'S AS FOR KIDNEY ANALYSIS ABOVE, OR THEN PA - RETURN CTRL X TWICE

(II)   IF KIDNEY IS ALREADY ANALYSED MR,5-CURVES ARE ALREADY GENERATED, OR

(III)  IF GFR REQUIRES "MODIFIED" KIDNEYS - RR6 AND PA - RETURN.

C)   MR,4.

COMMENTS CAN BE EDITED DURING GFR ANALYSIS OR PRIOR TO STARTING

ANALYSIS

.

I		NOTE :	TO EDIT COMMENTS BEFORE ANALYSIS

CALL UP STUDY AND AT COMMAND CO

A

ENTER COMMENTS LINE BY LINE ACCORDING TO RENAL RECORD SHEET.

EG.		566072,308435

11,40

10,06

10,29

6.8,6.5

70,160

RENAL TRANSPLANT

SELECT STUDY AND AT COMMAND MR KIDNEY.

AT COMMAND, SPACE RETURN UNTIL FEMORAL ARTERY APPEARS.

AT COMMAND AD3;IT;S9;LT30;UT75

THRESHOLDS WILL VARY FROM PATIENT TO PATIENT.

AT COMMAND  IR ALTER THRESHOLDS FURTHER USING

Y TO DECREASE UT BY 5% STEPS OR

W TO INCREASE LT BY 5% STEPS.

OUTLINE FEMORAL ARTERY DISTAL TO KIDNEY TO TWO CELLS WIDE. ^X

PREPARE TO OUTLINE KIDNEY AND BACKGROUND.

AT COMMAND  BE;SK30;AD10;S9;LT30.

ADJUST THRESHOLDS FURTHER IF NECESSARY.

AT COMMAND IR OUTLINE KIDNEY AVOIDING FEMORAL ARTERY

OUTLINE BACKGROUND OVERLAPPING KIDNEY ^X

KIDNEY            - BACKGROUND.

AT COMMAND  ,4

ENTER DEAD TIME 10

ENTER KIDNEY (R,L,B=BOTH OR T) T

PA - RETURN ^X^X SELECT PEAKS AND TAKE FILMSL.

PANCREAS ANALYSIS

CALL UP PANCREAS/LIVER DYNAMIC AND AT COMMAND

BW;AD3;IT;SM4 (NOTE MAXIMUM COUNTS  A  )

AT COMMAND DX AND CALL UP LIVER FUNCTION STUDY.

AT COMMAND BW;SK46;IT ( NOTE MAXIMUM COUNTS   B)

AT COMMAND CM 2.5 ( FACTOR = A/B TO NORMALISE COUNTS  )

AT COMMAND SM3,SA4-3 - TAKE PHOTO 1.

AT COMMAND LT20;BU    - TAKE PHOTO 2.

AT COMMAND IR

SELECT 5 ROI'S AS FOLLOWS, TYPE M TO MARK REGIONS.

A - HEAD OF PANCREAS

B - BODY OF PANCREAS

C - TAIL OF PANCREAS

D - LIVER - MID PORTION

E - BACKGROUND - TAKE PHOTO 3 OF REGIONS.

TYPE ^X TO RETURN TO COMMAND.

AT COMMAND SM5

AT COMMAND RS4;BU - TAKE FILM 4

AT COMMAND RS3;BU - TAKE FILM 5

AT COMMAND DX     - CALL UP PANCREAS STUDY

AT COMMAND AD3;BW;RR5 TAKE FILM 6

AT COMMAND PA ABC - RETURN - TAKE FILM 7

AT COMMAND PA ADE - RETURN  - TAKE FILM 8.

S.I. JOINTS

CALL UP STUDY AND AT COMMAND

RI - OUTLINE 4 AREAS		A B C     SI JOINTS

USING SA I.E. SAME AREA.	    D FEMUR

NOTE COUNTS IN EACH AREA

R BASIC

OPTIONAL FUNCTIONS (ALL, NONE OR INDIVIDUAL)

READY

PRINT AND CALCULATE A/D  B/D  A/C

BYE

OR AT COMMAND

BA AND CONTINUE AS ABOVE

THYROID ANALYSIS

FOREGROUND MUST BE LOADED.

CALL UP STANDARD AND AT COMMAND

MR THY - THIS 1 LOADS STANDARD INTO SAVE AREA 2

2 LOADS STATIC INTO DUAL DISPLAY.

3 LOADS STATIC AND ROI'S IN SAVE AREA 1

4 CALLS MR THYDYN.

CONTINUE WITH SELF DOCUMENTING PROGRAM.

OUTLINE THYROID ACCURATELY - IF THRESHOLD O.K. CAN

OUTLINE BY V (THIS AUTOMATICALLY LOADS TO SA1.)

^X MR,10 AND AT COMMAND CHOOSE THYROID DYNAMIC

AT COMMAND MR,3

ADJUST THRESHOLDS IF NECESSARY

AT COMMAND MR,6

OUTLINE THYROID AND BACKGROUND

PA - RETURN ^X ^X

ENTER INFORMATION FROM RECORD SHEET AND TAKE

FILMS AS BELOW

NOTE: CAMERA DEAD TIME AND CELLS/CM2 ARE:

MOBILE 10,74

PHO V 10,36

VENTILATION LUNG ANALYSISL

CALL UP EQUILIBRIUM STUDY AND AT COMMAND

MR LUNG  (ADJUST THRESHOLD USING X AND Y)

V TO OUTLINE

^X

SELECT WASH-OUT AND AT COMMAND

,6

NOW IN IR TO ALTER THRESHOLDS IF NECESSARY (DO NOT MARK REGIONS AGAIN)

^X

SELECT PERFUSION AND AT COMMAND

,9

NOW IN IR ADJUST THRESHOLDS IF NECESSARY AND V TO OUTLINE CURVE

^X

DO YOU WANT TO CHECK FOR EMBOLISM Y OR N

TO RERUN TYPE MR

SELF DOCUMENTING FROM HERE

TAKE FILMS AS BELOW

OESOPHAGEAL TRANSIT

SELECT STUDY AND AT COMMAND MR OESTRN

IF CINE PLAYBACK ALREADY MADE BY AUTOANALYSIS - THEN MR OESTRN,5

THIS CREATES A CINE PLAYBACK

TEMPORARILY STORED AS GSACOM.GPB

(IF REVERSE CHANGE WITH JOYSTICK)

TO CONTINUE CTRL X

RENAME PLAYBACK FOR STORAGE (SAME AS FOR HEARTS)

MARK OESOPHAGUS EXCL STOMACH REGION

MARK SCRATCH (ANY REGION) PA - RETURN CTRL X, CTRL X

.COMMAND (VT100) MR OESTRN

CHOOSE PEAK (R OR L)

M

CHOOSE BOLUS PEAK - TAKE FILM 2 BEFORE MARKING

CHOOSE POINT 10 SEC AFTER BOLUS ENTRY

E.G. X=5 THEN MOVE MARKER UNTIL X=15  M

CHOOSE POINT 15 SEC AFTER BOLUS ENTRY

M

RESULTS DISPLAYED

TAKE FILM

RB CA - TO RETURN TO BGAMMA

THALLIUM ANALYSIS

STUDY IS COLLECTED IN 128X128 BYTE

STUDY MUST BE CONVERTED TO 64X64 WORD

1. CALL UP GRID

RI

MARK X AXIS AND NOTE X FACTOR

(AS FOR GATED HEART)

2. CALL UP EXERCISE STUDY   AND AT COMMAND

MR CONVRT

(B) CALL UP DELAY AND AT COMMAND

,2

3.CALL CONVERTED EXERCISE AND AT COMMAND

MR THAL

(A) OUTLINE MYOCARDIUM

OUTLINE CHAMBER

MARK CENTROID WITH ONE CELL

MARK APEX WITH ONE CELL - CTRL X

(B) E (I.E. ERASE REGIONS)

AND MARK REGIONS AGAIN FOR ANTERIOR - CTRL X

(C) E (I.E. ERASE REGIONS)

AND MARK REGIONS AGAIN FOR 70 LAO - CTRL X

4. (A) SELECT DELAY AND AT COMMAND

,7

N.B. DO NOT TYPE S

X TO EXIT

MOVE IMAGE UP (I.E U) OR DOWN (I.E. D) TO FIT REGIONS

X TO EXIT

(B) REPEAT ABOVE FOR ANTERIOR

(C) REPEAT ABOVE FOR 70 LAO

DO YOU WISH TO ADD RESULTS N

ENTER X CELLS FROM GRID E.G. 70

TAKE FILMS AS BELOW

N.B.	DELETE HEART - 64